## Laboratory Information
Field | Value
Laboratory Name | Test2 Lab
Laboratory Number | 12345
Laboratory Address | 123-,
Laboratory Telephone | 3456
Laboratory Fax
Laboratory Email | test@gmail.com
Head of Laboratory | Ann
Telephone (Head of Laboratory - Personal) | 12345
Telephone (Head of Laboratory - Work)
Lab Level | Level 5
Lab Affiliation | Goverment

## Staffing Summary
Profession | Employees | Adequate
Degree-holding Professional Staff
Diploma-holding Professional Staff
Certificate-holding Professional Staff
Microscopist
Data Clerk
Phlebotomist
Cleaner
Is the cleaner(s) dedicated to the laboratory only?
Has the cleaner(s) been trained in safe waste handling?
Driver
Is the driver(s) dedicated to the laboratory only?
Has the driver(s) been trained in biosafety?
Other

## SLMTA Information
Field | Value
Official SLMTA Audit? | Yes
Audit Start Date | 2017-08-22
Audit End Date | 2017-08-23
Name(s) and Affiliation(s) of Auditor(s) | Echecklist Admin, winnie
Type of SLMTA Audit | Baseline Audit
Total # of tests before SLMTA | 0
Total # of tests this year | 0
Cohort ID | 1
SLMTA Labtype | National
Date of baseline audit | 2017-08-24
Date of SLMTA workshop #1 | 2017-08-23
Date of exit audit performed | 2017-08-23
Baseline Score | 0
Stars obtained | Not Audited
Exit Score | 0
Stars obtained | Not Audited
Date of Last Audit | 2017-08-23
Score for Last Audit | 0
Prior Audit Status | Not Audited

## Assessment Details
Question | Description | Response | Notes
1 | 1.1 Legal Entity
2 | 1.2 Laboratory Quality ManualIs there a current laboratory quality manual, composed of the quality management system’s policies and procedures, and has the manual content been communicated to and understood and implemented by all staff?
3 | a) Quality policy statement that includes scope of service, standard of service, measurable objectives of the quality management system, and management commitment to compliance.
4 | b) Documented policies for the quality management system that meet the requirements of ISO15189:2012 <strong>(Refer to Question 1.5 of this checklist for list of policies required)</strong>
5 | c) Description of the quality management system and the structure of its documentation
6 | d) Reference to supporting procedures (SOPs), including managerial and technical procedures
7 | e) Description of the roles and responsibilities of the laboratory director, or laboratory manager, quality manager, and other key personnel (laboratory to define its key personnel) responsible for ensuring compliance
8 | f) Records of review and approval of the quality manual by authorized personnel
9 | g) Records to show that the quality manual was communicated to and understood by the lab personnel
10 | 1.3 Document and Information Control System
11 | 1.4 Document and Records
12 | 1.5 Laboratory Policies and Standard Operating ProceduresAre policies and standard operating procedures (SOPs) for laboratory functions current, available and approved by authorized personnel?
13 | Ethical Conduct
14 | Document Control
15 | Control of Records
16 | Communication (internal and external)
17 | Service Agreements
18 | Examination by Referral Laboratories and Consultants
19 | External Services and Suppliers
20 | Purchasing and Inventory Control
21 | Advisory Services
22 | Resolution of Complaints and Feedback
23 | Identification and Control of Nonconformities
24 | Corrective Action
25 | Preventive Action
26 | Continual Improvement
27 | Control of Records
28 | Internal Audits
29 | Risk Management
30 | Management Review
31 | Personnel Management
32 | Personnel Training
33 | Competency Assessment
34 | Authorization
35 | Review of Staff Performance
36 | Accommodation and Environmental Conditions
37 | Laboratory Equipment
38 | Calibration of Equipment
39 | Pre-examination Process
40 | Validation and Verification of examination procedures / Equipment
41 | Measurement Uncertainty
42 | Biological Reference Intervals or Clinical Decision Values
43 | Documentation of examination procedures
44 | Laboratory Contingency Plan
45 | Quality Control Quality Assurance
46 | Reporting and Release of Results
47 | Laboratory Information System (LIS) (Computerized or non-computerized)
48 | Laboratory Safety Manual
49 | 1.6 Policy and SOPs Accessibility
50 | 1.7 Policies and SOPs Communication
51 | 1.8 Document Control Log
52 | 1.9 Discontinued Policies and SOPs
53 | 1.10 Data Files
54 | 1.11 Archived Results Accessibility
55 | 2.1 Routine Review of Quality and Technical RecordsDoes the laboratory routinely perform a documented review of all quality and technical records? Does the laboratory review include the following?
56 | a) Follow-up of action items from previous reviews
57 | b) Status of corrective actions taken and required preventive actions
58 | c) Reports from personnel
59 | d) Environmental monitoring log sheets
60 | e) Specimen rejection logbook
61 | f) Equipment calibration and maintenance records
62 | g) IQC records across all test areas
63 | h) Outcomes of PTs and other forms of Inter-laboratory comparisons
64 | i) Quality indicators
65 | j) Customer complaints and feedback
66 | k) Results of improvement projects
67 | l) Documentation of review and action planning with staff for resolution and follow-up review
68 | 2.2 Management ReviewDoes the laboratory management perform a review of the quality system at a management review meeting at least annually?
69 | Review Input: Does the management review meeting include the following inputs?
70 | b) Assessment of user feedback
71 | c) Staff suggestions
72 | d) Internal audits
73 | e) Risk management
74 | f) Use of quality indicators
75 | g) Assessments by external organizations
76 | h) Results of participation in inter-laboratory comparison programmes (PT/EQA)
77 | i) Monitoring and resolution of complaints
78 | j) Performance of suppliers
79 | k) Identification and control of nonconformities
80 | l) Results of continual improvement including, current status of corrective actions and preventive actions
81 | m) Follow-up actions from previous management reviews
82 | n) Changes in the volume and scope of work, personnel, and premises that could affect the quality management system
83 | o) Recommendations for improvement, including technical requirements
84 | p) Review of quality objectives and the quality policy for appropriateness and continuous improvement
85 | Review Output: Does the management review meeting include the following outputs?
86 | b) Does the output records of the MR meeting capture decisions made, persons responsible for actions to be taken and timeframes?
87 | c) Does the report address resources required (human, financial, material)?
88 | d) Does it refer to improvement for the users?
89 | e) Does it refer to improvement of the effectiveness of the quality system?
90 | f) Were the quality objectives and the quality policy reviewed for appropriateness and continuous improvement?
91 | 2.3 Are findings and actions from MR communicated to the relevant staff?
92 | 2.4 Does lab management ensure actions from MR are completed within defined timeframes?
93 | 3.1 Duty Roster And Daily Routine
94 | 3.2 Organizational Chart and External/Internal Reporting Systems
95 | 3.3 Laboratory DirectorIs the laboratory directed by a person(s) with the competency, delegated responsibility to perform the following;
96 | a) Provide effective leadership, budgeting and planning
97 | b) Communicate with stakeholders
98 | c) Ensure adequate competent staff
99 | d) Ensure the implementation of the QMS
100 | e) Selection and monitoring of lab supplies
101 | f) Selection and monitoring of referral labs
102 | g) Ensure a safe lab environment
103 | h) Advisory services
104 | i) Provide professional development programs for laboratory staff
105 | j) Address complaints, requests or suggestions from staff and/or lab users
106 | k) Design and implement a contingency plan
107 | 3.4 Quality Management System OversightIs there a quality officer/manager with delegated responsibility to oversee compliance with the quality management system?
108 | a) Is there an appointment letter, job description available or terms of reference?
109 | b) Does the quality manager ensure that processes needed for the quality management system are established, implemented, and maintained?
110 | c) Does the QM report to management at which decisions relating to quality are made?
111 | d) Does the QM promote awareness of users’ needs and requirements throughout the organization?
112 | e) Does the QM participate in management reviews?
113 | 3.5 Personnel Filing SystemAre records of personnel maintained and do they include the following?
114 | a) Educational and professional qualifications
115 | b) Copy of certification or license to practice, when applicable
116 | c) Previous work experience e.g. CV
117 | d) Job descriptions
118 | e) Introduction of new staff to the laboratory environment
119 | f) Training in current job tasks including vendor training received on -site
120 | g) Competency assessments
121 | h) Records of continuing education
122 | i) Reviews of staff performance
123 | j) Reports of accidents and exposure to occupational hazards
124 | k) Immunization status, as applicable relevant to assigned duties
125 | l) Letter of employment or appointment
126 | m) Employee medical surveillance records
127 | 3.6 Laboratory Staff TrainingIs there a system for training that covers the following?
128 | a) The quality management system
129 | b) Assigned work processes, procedures and tasks
130 | c) The applicable laboratory information system
131 | d) Health and safety, including the prevention or containment of the effects of adverse incidents
132 | e) Laboratory Ethics
133 | f) Confidentiality of patient information
134 | g) Is there supervision for persons undergoing training
135 | h) Continuous medical education
136 | i) Review of effectiveness of the training program
137 | 3.7 Staff Competency Assessment and retrainingIs there a system for competency assessment that covers the following?
138 | a) Are competency assessments performed according defined criteria
139 | b) New hires
140 | c) Existing staff
141 | d) Retraining and re-assessment where needed
142 | 3.8 Staff MeetingsAre staff meetings held regularly and do the meetings address the following items?
143 | a) Follow-up of action items from previous staff meeting
144 | b) Systemic and or recurrent problems and issues addressed, including actions to prevent recurrence
145 | c) Complaints
146 | d) Communication on reviewed/revised/redundant SOPs
147 | e) Review of results from prior corrective actions
148 | f) Discussion and evaluation of improvement topics/projects
149 | g) Feedback given by staff that have attended hospital meetings, external meetings, training, conferences, workshops, etc.
150 | h) Relay of reports and updates from lab attendance at meetings with clinicians (the use of lab services and/or attendance at clinical rounds)
151 | i) Recording and monitoring of meeting notes for progress on issues.
152 | 4.1 Advice and Training by Qualified Staff
153 | 4.2 Resolution of Complaints
154 | 4.3 Laboratory Handbook for Clients - information to users
155 | 4.4 Communication Policy on Delays in Service
156 | 4.5 Evaluation Tool and Follow up
157 | 5.1 Adherence to Proper Equipment Protocol
158 | 5.2 Equipment Operation
159 | 5.3 Equipment and Method Validation/Verification and DocumentationAre newly introduced equipment and methods validated/verified on-site and is documented evidence available?
160 | a) Are specific verification/validation protocols in place for each equipment and examination procedure?
161 | b) Is validation performed for all laboratory designed or developed methods, standard methods used outside their intended scope and validated methods that are subsequently modified?
162 | c) Has validation information been obtained from the manufacturer/method developer as part of the verification?
163 | d) Have performance characteristics been appropriately selected and evaluated as per intended use?
164 | e) Were the verification/validation studies appropriate and adequate?
165 | f) Was the analysis of data appropriate for the selected performance characteristics?
166 | g) Have the verification/validation results/reports been reviewed and approved by an authorised person?
167 | 5.4 Measurement uncertainty of measured quantity testsDoes the laboratory have documented estimates of measurement of uncertainty (UM)?
168 | a) Has the laboratory calculated the measurement uncertainty for each quantitative measurement procedure?
169 | b) Has the laboratory defined the performance requirements (factors that affect the UM) for the measurement uncertainty of each measurement procedure and regularly review estimates of measurement uncertainty?
170 | c) Does the lab make its calculated measurement of uncertainty available to its users upon request?
171 | 5.5 Equipment Record MaintenanceIs current equipment inventory data available on all equipment in the laboratory?
172 | a) Name of equipment
173 | b) Manufacturer’s or authorized supplier contact details
174 | c) Condition received (new, used, reconditioned)
175 | d) Serial number
176 | e) Date of receiving
177 | f) Where equipment is obsolete, date when put 'out of service'
178 | g) Date of entry into service(after validation / verification)
179 | h) Location
180 | 5.6 Equipment Maintenance RecordsIs relevant equipment service information readily available in the laboratory?
181 | a) Service contract information
182 | b) Contact details for service provider
183 | c) Decontamination Records
184 | d) Engineer or service provider preventative maintenance records
185 | e) Last date of service
186 | f) Next date of service
187 | 5.7 Defective Equipment Waiting for Repair
188 | 5.8 Obsolete Equipment Procedures
189 | 5.9 Equipment Calibration and Metrological traceability ProtocolIs routine calibration of laboratory equipment (including pipettes, centrifuges, balances, and thermometers) scheduled, as indicated on the equipment, and verified?
190 | a) Is routine calibration of laboratory ancillary equipment (including pipettes, centrifuges, balances, and thermometers) scheduled, at minimum following manufacturer recommendations and verified?
191 | b) Is the calibration traceable (e.g. use of reference materials and equipment like certified thermometers, tachometer?
192 | c) Is there evidence of review of calibrations certificates/results by the laboratory before acceptance back into use?
193 | d) Is certified reference materials, examination and calibration by another procedure, use of mutual consent standards or methods used for in house calibrations?
194 | 5.10 Equipment Preventive Maintenance
195 | 5.11 Equipment Service Maintenance
196 | 5.12 Equipment Malfunction - Response and Documentation
197 | 5.13 Equipment Repair Monitoring and DocumentationAre repair orders monitored to determine if the service is completed? Does the laboratory verify and document that it is in proper working order before being put it back into service?
198 | a) Are repair orders monitored to determine if the service is completed?
199 | b) Does the laboratory verify and document the equipment is in proper working order before being put it back into service?
200 | 5.14 Equipment Failure - Contingency Plan
201 | 5.15 Manufacturer's Operator Manual
202 | 5.16 Laboratory Testing Services
203 | 6.1 Internal AuditsAre internal audits conducted at intervals as defined in the quality manual and do these audits address areas important to patient care?
204 | a) Is there an audit plan/schedule that ensures all activities of the QMS are audited?
205 | b) Are audits being carried with minimal conflict of interest e.g. where possible, carried out by persons who are not involved in lab activities in the section being audited?
206 | c) Are the personnel conducting the internal audits trained with proven competency in auditing managerial and/or technical requirements?
207 | d) Is cause analysis performed for nonconformities/noted deficiencies?
208 | e) Are internal audit findings documented and presented to the laboratory management and relevant staff for review?
209 | 6.2 Audit Recommendations and Action Plan & Follow up
210 | a) Are internal audits reports generated?
211 | b) Are recommendations for corrective/preventive actions made based on audit findings?
212 | c) Is an action plan developed with clear timelines, assigned personnel & documented follow-up within the timeframe defined by the laboratory?
213 | 6.3 Risk ManagementAre assessment of potential pitfalls performed for all laboratory processes including pre examination, examination and post examination?
214 | a) Documented assessment of potential pitfalls for all processes
215 | b) Documented actions taken to reduce or eliminate identified potential pitfalls
216 | 7.1 Inventory and Budgeting System
217 | 7.2 Specification for supplies/consumables
218 | 7.3 Service Supplier Performance Review
219 | 7.4 Inventory ControlDoes the lab maintain records for each reagent and consumable that contributes to the performance of examinations. These records shall include but not be limited to the following:
220 | a) Identity of the reagent or consumable?
221 | b) Batch code or lot number?
222 | c) Manufacturer or supplier name and contact information?
223 | d) Date of receiving, the expiry date, date of entering into service and, where applicable, the date the material was taken out of service?
224 | e) Manufacturer's instruction/package insert?
225 | f) Records of inspection of reagents and consumables when received (e.g. acceptable or damaged)?
226 | 7.5 Budgetary Projections
227 | 7.6 Management Review of Supply Requests
228 | 7.7 Laboratory Inventory System
229 | a) Are inventory records complete and accurate, with minimum and maximum stock levels denoted and monitored?
230 | b) Is the consumption rate of all reagents and consumables monitored?
231 | c) Are stock counts routinely performed?
232 | 7.8 Storage AreaAre storage areas set up and monitored appropriately?
233 | a) Is the storage area well-organized and free of clutter?
234 | b) Are there designated places labeled for all inventory items for easy access?
235 | c) Is adequate cold storage available?
236 | d) Are storage areas monitored as per prescribed storage conditions?
237 | e) Is the ambient temperature monitored routinely?
238 | f) Is storage in direct sunlight avoided?
239 | g) Is the storage area adequately ventilated?
240 | h) Is the storage area clean and free of dust and pests?
241 | i) Are storage areas access-controlled?
242 | 7.9 Inventory Organization and Wastage Minimization
243 | 7.10 Disposal of Expired Products
244 | 7.11 Product Expiration
245 | 7.12 Laboratory Testing Services
246 | 8.1 Information for patients and users
247 | 8.2 Does the laboratory adequately collect information needed for examination performance?
248 | a) Are all test requests accompanied by an acceptable and approved test requisition form (and a transmittal sheet/checklist/manifest where applicable)?
249 | b) Does the request form has patient ID including gender, date of birth, location of patient and unique identifier?
250 | c) Name, signature or initials of authorized requester
251 | d) Type of sample and examination requested
252 | e) Clinically relevant information
253 | f) Date of sample collection (And time of collection where relevant – where time has an impact on the result)
254 | g) Date and time of sample receipt
255 | h) Written consent for invasive procedures with increased risk of complications
256 | 8.3 Are adequate sample receiving procedures in place?
257 | a) Patient Unique Identifier
258 | b) Are received specimens evaluated according to acceptance/rejection criteria?
259 | c) Are specimens logged appropriately upon receipt in the laboratory (including date, time, and name of receiving officer)?
260 | d) Are procedures in place to process 'urgent' specimens and verbal requests?
261 | e) When samples are split, can the portions be traced back to the primary sample?
262 | f) If not a 24 hour lab, is there a documented method for handling of specimens received after hours?
263 | g) Are specimens delivered to the correct workstations in a timely manner?
264 | 8.4 Pre-examination Handling, Preparation and Storage
265 | 8.5 Sample Transportation
266 | 8.6 Does the laboratory select and evaluate referral Labs and Consultants?
267 | a) Are there documented reviews and evaluations of referral laboratories and consultants as defined by the laboratory?
268 | b) Is there a register of referral Laboratories and consultants?
269 | c) Are referred specimens tracked properly using a logbook, tracking form or electronically?
270 | 8.7 Documentation of Examination Procedures
271 | 8.8 Reagents Acceptance Testing
272 | 8.9 Quality Control
273 | 8.10 Quality Control DataAre QC results monitored and reviewed (including biases and Levy-Jennings charts for quantitative tests)?
274 | a) Is there documentation of corrective action taken when quality control results exceed the acceptable range or reviews identify non conformities in a timely manner?
275 | b) Does the Lab evaluate the results from the patient samples that were examined after the last successful quality control event
276 | 8.11 Comparability of Examination ResultsDoes the laboratory compare results of the same test performed with different procedures and equipment?
277 | a) Where there is more than one procedure for the same measure, does the laboratory compare results from the different procedures, equipment or methods?
278 | b) Does the lab discuss, document and act upon (including notifying users) problems or deficiencies from these comparison studies?
279 | 8.12 Are environmental conditions checked and reviewed accurately?8.12 Are the following environmental conditions checked and recorded daily?
280 | a) Room temperature
281 | b) Freezers
282 | c) Refrigerator
283 | d) Incubators
284 | e) Water Bath
285 | 8.13 Have acceptable ranges been defined for all temperature- dependent equipment with procedures and documentation of action taken in response to out of range temperatures?
286 | 8.14 Does the laboratory participate in interlaboratory comparison program or alternative assessment systems for all tests?
287 | a) Do samples come from providers who are accredited or approved?
288 | b) Are specimens handled and tested the same way as patient specimens?
289 | c) Is the performance of the laboratory in the PT program reviewed and discussed with relevant staff?
290 | d) Is cause analysis performed for unacceptable results?
291 | e) Is corrective action documented for unacceptable results?
292 | 9.1 Test Result Reporting System
293 | 9.2 Testing Personnel
294 | 9.3 Report ContentDoes the laboratory report contain at least the following:
295 | a) Test requested
296 | b) Identification of the laboratory
297 | c) Identification of all examinations performed by a referral laboratory
298 | d) Patient identification and location
299 | e) Name of the requester
300 | f) Date of primary sample collection (and time, relevant to patient care)
301 | g) Type of primary sample
302
303 | i) Biological reference intervals where applicable
304 | j) Is there space for interpretation or comments of results, when applicable?
305 | k) Identification of the person(s) reviewing and authorizing the report
306 | l) Date and time of the report
307 | m) Page number to total number of pages (e.g. 'Page 1 of 5', 'Page 2 of 5', etc.)
308 | n) When issuing revised reports, is it clearly identified as a revision and includes reference to the date and patient's identity in the original report and the user made aware of the revision?
309 | o) Does the revised record show the time and date of the change and the name of the person responsible for the change?
310 | p) Does the original report entry remain in the record when revisions are made?
311 | 9.4 Analytic System/Method Tracing
312 | 9.5 Archived Data Labeling and Storage
313 | 9.6 Authorities and Responsibilities Has the laboratory defined and implemented authorities and responsibilities for the management and use of the laboratory information system– paper based and electronic, including maintenance and modifications that may affect patient care? Is the following in place and implemented?
314 | a) Controlled access to patient data and information
315 | b) Controlled access to enter patient data and examination results
316 | c) Controlled access to changing patient data or examination results
317 | d) Controlled access to the release of examination results and reports
318 | e) Verify that results that have been transmitted electronically or reproduced external to the laboratory (computers, fax machines, email and websites and personal web devices) are correct
319 | 9.7 Information Management System
320 | 9.8 Test Result Report
321 | 9.9 Verification of Electronic Laboratory Information System
322 | a) Has the system been verified before implementation that include the verification reports to check functioning and inter-phasing by the laboratory?
323 | b) Records of the validation by the supplier available and approved for use?
324 | c) Ongoing system checks available for correct transmissions, calculations and storage of results and records.
325 | 9.10 Is the Laboratory Information System properly maintained to ensure continued functioning:
326 | a) Documented regular service by authorized and trained personnel
327 | b) Documented system failures with documented appropriate root cause analysis, corrective actions and preventative actions
328 | c) System operated in an environment recommended by the supplier for optimal functioning
329 | 10.1 Are all identified nonconforming activities/ work identified and documented adequately?
330 | a) Indicating details of what happened, when, person responsible.
331 | b) Immediate actions being taken
332 | c) Determination of the extent of the non- conformity?
333 | d) Are examinations halted and results withheld or recalled where the non-conformity compromises patient results?
334 | e) Informing the requester where the non -conformity has an effect on the management of the patient
335 | f) Authorization of resumption of testing documented (where testing has been halted)
336 | 10.2 Is documented root cause analysis performed for non-conforming work before corrective actions are implemented?
337 | 10.3 Is corrective action performed and documented for non-conforming work?
338 | 10.4 Are implemented corrective actions monitored and reviewed for their effectiveness before closure/clearance?
339 | 10.5 Preventive ActionsAre documented preventive actions implemented and monitored for their effectiveness?
340 | a) Reviewing of laboratory data and information to determine potential non conformities
341 | b) Determining root causes for potential non conformities
342 | c) Implementing and documenting preventive actions
343 | d) Reviewing and documenting effectiveness of preventive actions
344 | 11.1 Graphical Tools
345 | 11.2 Quality Management System Improvement Measures
346 | 11.3 Communication System on Laboratory Operations
347 | 11.4 Quality Indicators
348 | 11.5 Lab Performance Improvement
349 | 11.6 Quality of Lab Performance
350 | 12.1 Size of the Laboratory
351 | 12.2 Patient care and testing areas
352 | 12.3 Individual workstation maintenanceIs each individual workstation maintained free of clutter and set up for efficient operation?
353 | a) Does the equipment placement/layout facilitate optimum workflow?
354 | b) Are all needed supplies present and easily accessible?
355 | c) Are the chairs/stools at the workstations appropriate for bench height and the testing operations being performed?
356 | 12.4 Physical work environmentIs the physical work environment appropriate for testing?
357 | a) Free of clutter
358 | b) Adequately ventilated?
359 | c) Adequately lit?
360 | d) Climate-controlled for optimum equipment function?
361 | e) Are filters checked, cleaned and/or replaced at regular intervals, where air-conditioning is installed?
362 | f) Are wires and cables properly located and protected from traffic?
363 | g) Is there a functioning back-up power supply (generator)?
364 | h) Is critical equipment supported by uninterrupted power source (UPS) systems?
365 | i) Is equipment placed appropriately (away from water hazards, out of traffic areas)?
366 | j) Are appropriate provisions made for adequate water supply, including deionized water (DI) or distilled water, if needed?
367 | k) Is clerical work completed outside the testing area?
368 | l) Is major safety signage posted and enforced including NO EATING, SMOKING, DRINKING?
369 | 12.5 Laboratory Access
370 | 12.6 Laboratory Storage Areas
371 | 12.7 Work Area
372 | 12.8 Biosafety Cabinet
373 | 12.9 Laboratory Safety ManualIs a laboratory safety manual available, accessible, and up-to-date? Does the safety manual include guidelines on the following topics?
374 | a) Blood and Body Fluid Precautions
375 | b) Hazardous Waste Disposal
376 | c) Hazardous Chemicals / Materials
377 | d) MSDS Sheets
378 | e) Personal protective equipment
379 | f) Vaccination
380 | g) Post-Exposure Prophylaxis
381 | h) Fire Safety
382 | i) Electrical safety
383 | 12.10 Waste Disposal
384 | 12.11 Hazardous ChemicalsAre hazardous chemicals / materials properly handled?
385 | a) Are hazardous chemicals properly labeled?
386 | b) Are hazardous chemicals properly stored?
387 | c) Are hazardous chemicals properly utilized?
388 | d) Are hazardous chemicals properly disposed?
389 | 12.12 Handling of Sharps
390 | 12.13 Fire SafetyIs fire safety included as part of the laboratory’s overall safety program?
391 | a) Are all electrical cords, plugs, and receptacles used appropriately and in good repair?
392 | b) Is an appropriate fire extinguisher available, properly placed, in working condition, and routinely inspected?
393 | c) Is an operational fire warning system in place?
394 | d) Are periodic fire drills conducted at defined period of time?
395 | 12.14 Safety AuditsAre safety inspections or audits conducted regularly and documented?
396 | a) Is there an audit plan/schedule that ensures all activities of the lab are checked for safety compliance?
397 | b) Are inspections/audits being carried out by authorized persons?
398 | c) Are the personnel conducting the internal audits trained in safety?
399 | d) Is cause analysis and action taken for nonconformities/noted deficiencies?
400 | e) Are safety findings documented and presented to the laboratory management and relevant staff for review?
401 | 12.15 Safety EquipmentIs standard safety equipment available and in use in the laboratory?
402 | a) Biosafety cabinet(s)
403 | b) Covers on centrifuge(s)
404 | c) Hand-washing station
405 | d) Eyewash station/bottle(s) and showers where applicable
406 | e) Spill kit(s)
407 | f) First aid kit(s)
408 | 12.16 Personnel Protective Equipment
409 | 12.17 Staff Vaccinations
410 | 12.18 Post Exposure Prophylaxis
411 | 12.19 Adverse incidents
412 | 12.20 Biosafety Training
413 | 12.21 Laboratory Safety Officer

## Scores
Question | Description | Points

## Summary of Assessment Findings
Field | Value
Commendations
Challenges
Recommendations

## Action Plan
Action | Incharge | Timeline